Department of Public Health – Community Sanitation Program

STATE SANITARY CODE: CHAPTER V, MINIMUM STANDARDS FOR SWIMMING POOLS,

105 CMR 435.00

Name of City/Town

________________________________________________

| Type of Pool: | Public |  | Semi-Public |  |  | Special Purpose |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Name/Address of Pool: |  |  |  |  |  | Inspection Date: |  |
|  |  |  |  |  |  | Time: |  |
| Accompanied By: |  |  |  |  |  | Telephone #: |  |
| Owner/Operator: |  |  |  |  |  | Water Source: |  |
| Pool Capacity # of Gallons: |  | ____________ |  | Bather Load: | ___________ | # of Lifeguards: | ________ |

WATER QUALITY

Water Test Results (Taylor DPD Test Kit # K-2006)

| Testing Time(s): | Initial:_____________ |  | Additional:_____________ |  | Location: ________________ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Chemical Test | Allowable Range (ppm) | Initial Test Result (ppm) (If Applicable) |  |  |  | Additional Test Results1 (If Necessary) |  |
|  |  | Swimming Pool |  | Wading Pool |  | Swimming Pool | Wading Pool |
| Free Chlorine (used as a disinfectant) | 1.0–3.0 |  |  |  |  |  |  |
| Combined Chlorine | 0.0–0.2 |  |  |  |  |  |  |
| pH | 7.2-7.8 |  |  |  |  |  |  |
| Alkalinity | 50–150 |  |  |  |  |  |  |
| Calcium Hardness | 150–1000 (Recommended) |  |  |  |  |  |  |
| Cyanuric Acid (if used) | 30–100 |  |  |  |  |  |  |
| Bromine (used as a disinfectant) | 2.0–6.0 |  |  |  |  |  |  |

1Additional testing was conducted to evaluate the effectiveness of corrective actions taken to achieve compliance with the chemical standards required.

Water Clarity Results (Secchi Disk)

| Testing Time(s): | Initial:____________ |  | Additional:__________ |  | Location: ________________ |  |
| --- | --- | --- | --- | --- | --- | --- |
| Visibility Test | Initial Test Result (If Applicable) |  |  | Acceptable Test Result? |  | Additional Test Results1 (If Necessary) |
| Secchi Disk | Swimming Pool |  |  |  |  |  |
|  | Wading Pool |  |  |  |  |  |

1Additional testing was conducted to evaluate the effectiveness of corrective actions taken to achieve compliance with the water clarity standards required.

| 105 CMR 435. | X-Violation √-Satisfactory NA-Not Applicable |  |
| --- | --- | --- |
| 03 |  | Bathhouse and sanitary facilities adequate lighting; ventilation; sanitary condition |
| 03 |  | Adequate enclosure around pool; Gate self-latching w/ latch 4 ft above ground |
| 04 |  | Sewage Disposal |
| 05 |  | Location, structural stability, finish |
| 06 |  | Water circulation & filtration systems: Filter Effluent flow meter reading:_______________gpm # of turnovers:_________________ |
| 06 |  | Suitable automatic equipment for pH control adequate; CO2 cylinders anchored. Inaccessible to public, adequate ventilation provided |
| 08 |  | Inlets and outlets: Inlets located to produce uniform circulation; Over rim fill spout 6” above maximum water level; Properly shielded and located |
| 08 |  | Main drain suction outlets covered with suitable protective covers and grates. Cannot be removed without the use of tools; Open area does not provide entrapment of fingers, toes, etc; At least one antivortex drain provided. |
| 08 |  | Each system outlet provided against user entrapment by antivortex cover or other means.; Minimum of 2 suction outlets provided for each pump, properly located and plumbed. |
| 08 |  | Suction outlet covers in place, unbroken and secure and cannot be removed except with the use of tools. Close pool immediately if outlet covers missing, broken, loose or can be removed without tools until repair can be made. |
| 08 |  | Special purpose pools and wading pool equipped with emergency shut off pump switch; Accessible and prominently marked. |
| 09 |  | Cross connections: Potable water supplied through air gap |
| 10 |  | Skimming facilities: 50% of recirculation drawn from surface of pool |
| 12 |  | Line with floats separates non-swimmer area from deeper water; Water depth markings on deck and walls; Properly spaced; Boundary line on pool floor and walls; Step edges marked with contrasting color |
| 13 |  | Walkways and decks 4 ft wide, safe condition |
| 14 |  | Ladders, steps – one per 75 ft; Not less than 2 ladders |
| 15 |  | Diving equipment in safe condition |
| 17 |  | Pool supervision: Pool supervision provided Effective Jan. 1st 1999: Pool Supervision Certified as Operator from YMCA or NSPF |
| 21 |  | Permit Requirements: Permit Issued; Adequate maintenance and testing records maintained; Records initialed by person making tests |
| 22 |  | Health Regulations: Signs posted; Health warning signs posted for special purpose pools |
| 23 |  | Lifeguard required:  Yes  No If lifeguard required: Proper credentials, proper suits, and garment worn; Whistle and bullhorn provided |
| 24 |  | Safety Equipment: Ring buoy and rescue hook provided; Rescue tube and backboard with straps at pools attended by lifeguard |
| 25 |  | Emergency Communication System at the pool and in working order; Emergency communication device in unlocked area and available at all times to staff and the public; Operating instructions and emergency numbers posted |
| 26 |  | Waste and backwash water disposal properly discharged; No direct connection to sewer system; Separation tank provided for diatomaceous earth filter backwash water |
| 29 |  | Chemical Standards |
| 29 |  | Pool water tested with appropriate frequency |
| 30 |  | Water testing equipment; DPD kit provided for chlorine and bromine; Unbreakable thermometer for special purpose pools |
| 31/32 |  | Water Clarity; Water Clarity Maintenance: Filtration system operating continuously |
| 32 |  | Special purpose pools drained, cleaned, every 14 days |
| Maximum Operating Temperatures for Special Purpose Pools (SPP) |  |  |
| 33 |  | a. Thermostatic control provided for each SPP |
|  |  | b. Thermostatic control only accessible to the pool operator |
| 38 |  | General Sanitation |

| HEALTH AND SAFETY VIOLATIONS/ GENERAL SANITATION VIOLATIONS (* indicates conditions documented on previous inspection reports) | Notes: |
| --- | --- |